Travelers Risk Control

801 Lakeview Drive, Suite 300

Blue Bell, PA  19422

January 19, 2024

Jacquelyn Owens

Community Director

Lindy Property Management

1320 W Somerville Ave

Philadelphia, PA  19141

Dear Jacquelyn Owens:

This letter summarizes the boiler violations identified during my visit to York North Apartments on January 17, 2024.

RECOMMENDATIONS

The following recommendations are offered to help you in your efforts to improve your current safety program and help reduce your potential losses.

Recommendations that are categorized as “JURISDICTIONAL” require a written response within 30 days of this survey.  Jurisdictional recommendations address conditions that are in violation of the jurisdictional code and a certificate of inspection cannot be approved.

Jurisdictional Leakage has developed at the boiler flow switch. Date Found: 1/17/2024 Status: Open Object Number; Manufacturer; Type; Year Built; Object Location. PA357752B; Lochinvar; Boiler; 2018; Boiler Room. Leakage has developed at the boiler flow switch. If a welded repair to an ASME vessel/boiler is required it shall be made in accordance with the requirements of the most current edition of the National Board Inspection Code, performed by a company holding a National Board "R" stamp and documented on a National Board "R-1" form. Repairs without welding and or not part of the vessel/boiler do not require National Board Inspection Code involvement. Ref: Act 85, 104, PA 34 3a.3, 3a.81, 3a.82, 3a.83, 3a.114, 3a.115, NBIC (Edit 327).

We appreciate your business and the opportunity to be of service.  If you have questions regarding the discussions, the content of the report, or if I can be of further assistance, please contact me.  Thank you for choosing Travelers.

Sincerely,

Austin T. Young

Risk Control Consultant

267-453-0170

ATYOUNG@travelers.com

Visit MyTravelers® Online Risk Control Tools and Resources:

Visit the “Risk Control” tab to access:

- Our library of online risk management resources to help you understand and manage your unique risks. - Online safety education and training services for you and your employees. Under “Tools” you can also: - View your correspondence history. - Perform self-assessments to help you identify and address safety program gaps. - Identify equipment-generated ground vibration risks for construction companies with ZoneCheck®. - Report, track and manage sprinkler system impairments with our Fire Protection System Impairment Tool. Learn more Log In Not registered? Register Now

This report is based upon the information supplied by customer personnel and/or on the conditions and practices observed at the time of the visit.  The report may not list all unsafe conditions and practices; others may exist.  This report is not an endorsement of and it may not be used to endorse or promote any practices, procedures, or products.  The survey activities or any recommendations in this report are designed to assist the customers named in the report in the management of their own safety activities and should not be construed as legal advice.  The responsibility for making changes in the operations, procedures, or for implementing any recommendations is the customer's.  All warranties are hereby disclaimed and no liabilities are assumed to any party for any damages that may arise from the use of or reliance upon information contained in this report.  This report does not amend, or otherwise affect, the provisions or coverages of any insurance policy or bond issued, nor is it a representation that coverage does or does not exist for any particular claim or loss under any such policy or bond.  Coverage depends on the facts and circumstances involved in the claim or loss, all applicable policy or bond provisions, and any applicable law.

Note:	The visit and this letter concern the following lines of coverage:  Boiler & Machinery

Location: 	1320 W Somerville Ave

Philadelphia, PA  19141

0999-9KGNGN

Business Unit:  HOP

SAI: 5396R0230  Insured’s Name: Philadelphia - Piic - Iso

LocID: RW_7999996

Distribution:

Orig:	via email:  jowens@comehometolindy.com