## lindy test
Dynamic Form Data - Last 30 Days
Portfolio: All Property: Lindy Test Dates: From: Aug 11, 2023 - To: Sep 10, 2023
MC - HVAC - April 2022
| Maintenance Checklist HVAC |  |  | Cooling Systems | Condition Cooling Tower | [11 empty] | Maintenance Activities Cooling Tower | [9 empty] | Vendor Maintenance Cooling Tower | [5 empty] | Maintenance Activities Split System | [5 empty] | Maintenance Activities PTAC | [5 empty] | Maintenance Activities ThoughtheWall Sleeve | [5 empty] | Sign Off
Property | Property | Inspected By | Inspection Date | Select Cooling Systems | Is the mechanical room free of water penetration from outside walls, floor, or ceiling | Deficiency Notes - Water Penetration | Deficiency Photo(s) - Water Penetration | Is the Mechanical Room lighting excellent? | Deficiency Notes - Lighting | Deficiency Photo(s) - Lighting | Do drains work? Are drain covers present, securely fastened, fit correctly, in good condition? | Deficiency Notes - Drains | Deficiency Photo(s) - Drains | Vendor interviewed to identify Cap Ex recommendations for key pieces of equipment for next five years? | Additional Comments | Additional Photos | Inspected duct work determine if these need to be cleaned by vendor to remove dust and blockages? | Deficiency Notes - Duct Not Clean | Deficiency Photo(s) - Duct Not Clean | Air intake and exhaust are measured and meet as built design specifications? | Deficiency Notes - Do Not Meet Specifications | Deficiency Photo(s) - Do Not Meet Specifications | Checked garage make-up air; fans, motors, and fan belts, gaskets and seams? | Deficiency Notes - Garage HVAC | Additional Comments | Additional Photos | Confirm vendor has performed the following activities | Vendor Maintenance - Cooling Tower | Deficiency Notes - All Vendor Items Not Performed | Deficiency Photo(s) - All Vendor Items Not Performed | Additional Comments | Additional Photos | Confirm the following maintenance activities have been performed | Split System | Deficiency Notes - Split System | Deficiency Photo(s) - Split System | Additional Comments | Additional Photos | Confirm the following maintenance activities have been performed | P-TAC System | Deficiency Notes - P-TAC | Deficiency Photo(s) - P-TAC | Additional Comments | Additional Photos | Confirm the following maintenance activities have been performed | Through-the-Wall Sleeve | Deficiency Notes - Through-the-Wall Sleeve | Deficiency Photo(s) - Through-the-Wall Sleeve | Additional Comments | Additional Photos | Additional Comments | Additional Photos | Sign or Initial | If you have feedback about how to make this form better, please contact Frank Lindy (flindy@comehometolindy.com).
Lindy Test | Lindy Test | Mike Marcus | 09/11/2023 | CHECKED: Cooling Tower; P-TAC; Split System; Through-the-Wall Slee | Good Condition - No Water Penetration |  |  | Good Condition - Lighting Excellent |  |  | Good Condition - Drains in Working Condition |  |  | Good Condition - Vendor Interviewed | test |  | Good Condition - Duct Clean |  |  | Good Condition - Meet Specifications |  |  | Good Condition - No Deficiencies |  | test |  | CHECKED: Review water treatment results ensure satisfactory; Flush and clean cooling tower; Vendor Service circulating pumps quarterly; Change filter at least four times per year UNCHECKED: Cooling Tower; P-TAC; Split System; Through-the-Wall Sleeve | Action Required - All Items Not Performed | Def |  | Add |  | CHECKED: Verify unit is free of vibration tighten nuts at base (if needed); Clean and wash coils; Apply protective coat on painted surface; Clean and check outdoor fan blades.; Tighten service caps to prevent refrigerant leaks; Clean debris from outdoor unit; Check condensation line is clear and runs away from building; Roof top units do not have to be done annually UNCHECKED: Cooling Tower; P-TAC; Split System; Through-the-Wall Sleeve | Action Required - All Maintenance Activities Not Performed | def |  |  |  | CHECKED: No air leakage in ducts. Seal openings with aluminum (HVAC) tape; Clean and lubricate blower motor; Clean dirt and dust from around ducts, air grills, and furnaces; Clean and Inspect condensate drain line, ensure proper pitch; Check for tight electrical connections on indoor units. No open air connections (Junction box needs cover); Change air filter ; Make sure appliance cords are in good working condition UNCHECKED: Cooling Tower; P-TAC; Split System; Through-the-Wall Sleeve | Action Required - All Maintenance Activities Not Performed | def |  |  |  | CHECKED: Clean or change filter bi-annually; Wash and clean foam filter-return to unit; Check for air gaps in sleeve UNCHECKED: Cooling Tower; P-TAC; Split System; Through-the-Wall Sleeve | Action Required - All Maintenance Activities Not Performed | def
Value by Field
| Property | Inspected By | Inspection Date | Select Cooling Systems | Is the mechanical room free of water penetration from outside walls, floor, or ceiling | Deficiency Notes - Water Penetration | Deficiency Photo(s) - Water Penetration | Is the Mechanical Room lighting excellent? | Deficiency Notes - Lighting | Deficiency Photo(s) - Lighting | Do drains work? Are drain covers present, securely fastened, fit correctly, in good condition? | Deficiency Notes - Drains | Deficiency Photo(s) - Drains | Vendor interviewed to identify Cap Ex recommendations for key pieces of equipment for next five years? | Additional Comments | Additional Photos | Inspected duct work determine if these need to be cleaned by vendor to remove dust and blockages? | Deficiency Notes - Duct Not Clean | Deficiency Photo(s) - Duct Not Clean | Air intake and exhaust are measured and meet as built design specifications? | Deficiency Notes - Do Not Meet Specifications | Deficiency Photo(s) - Do Not Meet Specifications | Checked garage make-up air; fans, motors, and fan belts, gaskets and seams? | Deficiency Notes - Garage HVAC | Additional Comments | Additional Photos | Confirm vendor has performed the following activities | Vendor Maintenance - Cooling Tower | Deficiency Notes - All Vendor Items Not Performed | Deficiency Photo(s) - All Vendor Items Not Performed | Additional Comments | Additional Photos | Confirm the following maintenance activities have been performed | Split System | Deficiency Notes - Split System | Deficiency Photo(s) - Split System | Additional Comments | Additional Photos | Confirm the following maintenance activities have been performed | P-TAC System | Deficiency Notes - P-TAC | Deficiency Photo(s) - P-TAC | Additional Comments | Additional Photos | Confirm the following maintenance activities have been performed | Through-the-Wall Sleeve | Deficiency Notes - Through-the-Wall Sleeve | Deficiency Photo(s) - Through-the-Wall Sleeve | Additional Comments | Additional Photos | Additional Comments | Additional Photos | Sign or Initial | If you have feedback about how to make this form better, please contact Frank Lindy (flindy@comehometolindy.com).
Option |  |  |  |  | Good Condition - No Water Penetration |  |  | Good Condition - Lighting Excellent |  |  | Good Condition - Drains in Working Condition |  |  | Good Condition - Vendor Interviewed |  |  | Good Condition - Duct Clean |  |  | Good Condition - Meet Specifications |  |  | Good Condition - No Deficiencies |  |  |  | Flush and clean cooling tower | Good Condition - All Items Performed |  |  |  |  | Clean and wash coils | Good Condition - All Maintenance Activities Performed |  |  |  |  | Clean and lubricate blower motor | Good Condition - All Maintenance Activities Performed |  |  |  |  | Wash and clean foam filter-return to unit | Good Condition - All Maintenance Activities Performed
Count |  |  |  |  | 1 |  |  | 1 |  |  | 1 |  |  | 1 |  |  | 1 |  |  | 1 |  |  | 1 |  |  |  |  | 0 | [5 empty] | 0 | [5 empty] | 0 | [5 empty] | 0
Value |  |  |  |  | 12.5 |  |  | 12.5 |  |  | 12.5 |  |  | 12.5 |  |  | 10 |  |  | 10 |  |  | 10 |  |  |  | 0 | 20 |  |  |  |  | 0 | 100 |  |  |  |  | 0 | 100 |  |  |  |  | 0 | 100
Total Option Value |  |  |  |  | 12.5 |  |  | 12.5 |  |  | 12.5 |  |  | 12.5 |  |  | 10 |  |  | 10 |  |  | 10
Option |  |  |  |  | Action Required - Water Penetration |  |  | Action Required |  |  | Action Required |  |  | Action Required - Vendor Not Interviewed |  |  | Action Required - Duct Not Clean |  |  | Action Required - Do Not Meet Specifications |  |  | Action Required - Deficiency |  |  |  | Change filter at least four times per year | Action Required - All Items Not Performed |  |  |  |  | Clean and check outdoor fan blades. | Action Required - All Maintenance Activities Not Performed |  |  |  |  | Change air filter | Action Required - All Maintenance Activities Not Performed |  |  |  |  | Check for air gaps in sleeve | Action Required - All Maintenance Activities Not Performed
Count |  |  |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  |  |  | 1 | [5 empty] | 1 | [5 empty] | 1 | [5 empty] | 1
Value |  |  |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  |  | 0 | 0 |  |  |  |  | 0 | 0 |  |  |  |  | 0 | 0 |  |  |  |  | 0 | 0
Total Option Value | [27 empty] | 0 | [5 empty] | 0 | [5 empty] | 0 | [5 empty] | 0
Option | [22 empty] | Not Applicable |  |  |  | Review water treatment results ensure satisfactory | [5 empty] | Verify unit is free of vibration tighten nuts at base (if needed) | [5 empty] | Check for tight electrical connections on indoor units. No open air connections (Junction box needs cover) | [5 empty] | Clean or change filter bi-annually
Count | [22 empty] | 0
Value | [22 empty] | N/A |  |  |  | 0 | [5 empty] | 0 | [5 empty] | 0 | [5 empty] | 0
Total Option Value
Option | [26 empty] | Vendor Service circulating pumps quarterly | [5 empty] | Tighten service caps to prevent refrigerant leaks | [5 empty] | No air leakage in ducts. Seal openings with aluminum (HVAC) tape
Count
Value | [26 empty] | 0 | [5 empty] | 0 | [5 empty] | 0
Total Option Value
Option | [32 empty] | Apply protective coat on painted surface | [5 empty] | Clean and Inspect condensate drain line, ensure proper pitch
Count
Value | [32 empty] | 0 | [5 empty] | 0
Total Option Value
Option | [32 empty] | Roof top units do not have to be done annually | [5 empty] | Clean dirt and dust from around ducts, air grills, and furnaces
Count
Value | [32 empty] | 0 | [5 empty] | 0
Total Option Value
Option | [32 empty] | Clean debris from outdoor unit | [5 empty] | Make sure appliance cords are in good working condition
Count
Value | [32 empty] | 0 | [5 empty] | 0
Total Option Value
Option | [32 empty] | Check condensation line is clear and runs away from building
Count
Value | [32 empty] | 0
Total Option Value
Total Field Value |  |  |  |  | 12.5 |  |  | 12.5 |  |  | 12.5 |  |  | 12.5 |  |  | 10 |  |  | 10 |  |  | 10 |  |  |  |  | 0 | [5 empty] | 0 | [5 empty] | 0 | [5 empty] | 0
Dynamic Form Totals
Maintenance Checklist - HVAC Items
Cooling Systems Items
Condition - Cooling Tower Items | 50
Maintenance Activities - Cooling Tower Items | 30
Vendor Maintenance - Cooling Tower Items | 0
Maintenance Activities - Split System Items | 0
Maintenance Activities - P-TAC Items | 0
Maintenance Activities - Though-the-Wall Sleeve Items | 0
Sign Off Items
Dynamic Form Total | 80